This AHA is provided as an example of content to consider during development of project-specific AHAs for like activities

Activity: Dust particulate isolation

| HAZARDS |  |  |
| --- | --- | --- |
| JOB STEP | HAZARDS | ACTIONS TO ELIMINATE OR MINIMIZE EACH HAZARD |
| Lay out area for temporary containment | Risks of damage to property | Ensure all unassociated areas are isolated from dust / particulates originating from construction. |
| Use a chop or circular saw to cut material for temp wall | Risk of injury due to repetitive motion | All employees shall follow good ergonomics and/or reference company ergonomic program. Injuries shall be reported immediately to supervisor. Choose the proper tools for the job. |
| Install temporary wall supports | Risks of bodily injury | Minimum-required PPE worn at all times. Clear work area of clutter. Make sure tools are in proper working condition. |
| Install poly sheeting | Risks of bodily injury | Minimum-required PPE worn at all times. |