This AHA is provided as an example of content to consider during development of project-specific AHAs for like activities

Activity: Use of material handling equipment following OSHA 1926.602

| HAZARDS |  |  |
| --- | --- | --- |
| JOB STEP | HAZARDS | ACTIONS TO ELIMINATE OR MINIMIZE EACH HAZARD |
| All steps | Risk of injury to automotive or pedestrian traffic. | A Traffic / Pedestrian Control Plan may be required when blocking or partially blocking any walkway, roadway or driveway. Work area should be delineated from un-authorized personnel, with signs posted. Minimum-required PPE worn at all times. Use a spotter. |
|  | Risk of serious bodily injury or death. Risk of equipment failure or malfunction. | Read the manufacturer’s operators manual. Follow manufacturer’s recommendations for operation. Perform pre-use inspections. Any equipment deemed not safe removed from service. Only use designated and manufacturer-approved attachments. Follow all OSHA requirements for safe operation. Only trained and authorized personnel should operate equipment. A spotter will be required to assist with traffic and pedestrian control. Be aware of your surroundings / situational awareness Identify overhead and ground obstructions. Maintain proper load capacity per equipment capacity chart. |