This AHA is provided as an example of content to consider during development of project-specific AHAs for like activities

Activity: Painting and applying other coating products

| HAZARDS |  |  |
| --- | --- | --- |
| JOB STEP | HAZARDS | ACTIONS TO ELIMINATE OR MINIMIZE EACH HAZARD |
| Protect adjacent areas | Damage to property | Ensure all unassociated areas are covered and secured with plastic, drop cloths, etc. |
| Use of products | Chemical exposure | Maintain current SDS for chemicals being used onsite. When using chemicals, choose the proper PPE as per the SDS. Respirators or dust masks may be required, depending on the activity. Respirator use in accordance with Respiratory Protection Program, including medical evaluation and fit testing. HEPA filtration may be required. Adequate ventilation will be maintained. Eye wash station will be available. Wash up after use of products. |
|  | Trips/falls | Keep work area clear of clutter. Proper use of ladders and stepladders (i.e., will not be used in closed position, etc.) according to OSHA 1926.1053. |
|  | Splashes | Wear eye protection and gloves. Keep paint container on level surface. Paint slowly. |